## Table 1
Matrix of Water Efficiency Rating Systems
| ICC 700 ‐ 2020/2025 NGBS Chapter 8: Prescriptive Path | ICC 700 ‐ 2020 NGBS (Appendix D); 2025 (Appendix C) WRI Certification Standalone or concurrent NGBS Green Certification option | RESNET HERSH2O | WERS | EPA WaterSense v2
American National Standards Institute (ANSI) Approved Standard | Yes | Yes | Yes | No | Depends on the WaterSense Approved Certification Method (WACM) used
Requires an Independent Rater/Verifier | Yes | Yes | Yes | Yes | Yes
Standalone Certification Program | No (Part of overall home certification) | Yes | Yes | Yes | Yes
Onsite Inspections | Yes | Yes | Yes | Yes | Yes
Certification Fees (Only includes fees paid to Certifying Body) | Whole project certification SF: $200/home ¦ MF: tiered structure | No certification fee if pursued concurrently with NGBS Green Certification. Separate WRI fee of $50/home or $100/MF building when pursued independently. | TBD ‐ anticipated to be $50‐$150 | $75 per single‐family project ($49 in NM) | None
Possible Additional Fees | NGBS Green Verifier fee (as part of whole home certification) | NGBS Green WRI Verifier fee | HERSH2O Rater fee | WERS Verifier fee | Verifier fee
Project Certification Information | https://NGBS.com | https://NGBS.com/WRI | https://www.resnet.us/about/hersh2o/ | http://www.wers.us/ | https://www.epa.gov/watersense/homes-specification
Standard/Rating System Guide | www.nahb/ngbs | www.nahb/ngbs | www.resnet/hersh2o | http://www.wers.us/ | https://www.epa.gov/sites/default/files/2021-02/documents/watersense_final_homes_specification_v2.0.pdf
Applicable Building Types (SF = single‐family) (MF = multifamily) | SF ‐ New Construction & Existing Buildings (including duplexes, townhomes) MF ‐ New Construction & Existing Buildings | SF ‐ New Construction (including duplexes, townhomes) (Section 1204.4 for SF Certfied Path) MF ‐ New Construction 2025:New and Existing Buildings | SF ‐ New Construction & Renovation (including duplexes, townhomes) (renovation implied, not specifically called out) MF ‐ No | SF ‐ New Construction & Renovation (including townhomes) MF ‐ New Construction & Renovation | SF ‐ New Construction (including townhomes) MF ‐ New Construction
Water Cost Evaluation | No | No | No | Yes | No
Approved Product List | Yes | Yes | No | Yes | Depends on the WACM selected
WATER ALLOCATION PLANNING TOOL
Provides a prediction of annual gallons of water usage for a dwelling unit | No | Yes | No | Yes | Depends on the WACM selected
Can be used to predict annual acre feet of water usage for subdivisions and multifamily developments | No | Yes | No | Yes | Depends on the WACM selected
Can be used by water planning jurisdiction to calculate impacts of predicted growth on limited water supplies | No | Yes | No | Yes | Depends on the WACM selected
Can become more restrictive by lowering numerical achievement requirements by authorities having jurisdiction | No | Yes | Yes | Yes | Depends on the WACM selected
INDOOR WATER
Evaluates Overall Indoor Water Efficiency | No | Yes | Yes | Yes | Yes (Home must be at least 30% more efficient than typical new construction based on national standards and requirements)
What's Included in the Calculations? | Prescriptive: Home features, fixtures and appliance information entered in scoring tool spreadsheet; points awarded for practices as defined in the standard | Formulas use home size, #bedrooms, fixtures & appliances, lot size, landscape design Formula: (Anticipated indoor + outdoor water use)/ (Baseline indoor + outdoor water use) | Detailed in BSR/RESNET/ICC Standard 850 Formulas use home size, #bedrooms, fixtures & appliances, lot & landscape size Formula: (indoor and outdoor gpd for rated home)/ (indoor and outdoor gpd for reference home) | Formulas use home size, #bedrooms, fixtures & appliances, lot size, landscape design Formula: (Anticipated indoor + outdoor water use)/ (Baseline indoor + outdoor water use) | Any applicable WACM developed by EPA approved Home Certification Organization (HCO) can be used
Flush and Flow Fixtures | Yes | Yes | Yes | Yes | Yes (Toilets, bathroom sink faucets and showerheads must be WaterSense labeled)
Water Heater | Yes | Yes | No | Yes | Depends on the WACM selected
Dishwasher | Yes (ENERGY STAR or equivalent) | Yes | Yes | Yes | Depends on the WACM selected
Washing Machine | Yes (ENERGY STAR or equivalent) | Yes | Yes | Yes | Depends on the WACM selected
Structural Waste Considered (water volume in the pipe between the hot water source and the plumbing fixture or appliance plus the extra volume needed to heat the pipe as hot water is delivered to its use) | Yes | Yes | No | Yes | Depends on the WACM selected
Other Indoor Considerations | No | Water Softeners ¦ Humidifiers Evaporative Coolers ¦ Water Filters (except Reverse Osmosis) | Water Softener Other water use in the home Static pressure adjustment (excess pressure) | Water Softeners ¦ Humidifiers Evaporative Coolers ¦ Water Filters Indoor Water Features | Inspection to confirm no visible leaks and proper service pressure
OUTDOOR WATER
Evaluates Overall Outdoor Water Efficiency | No | Yes | Yes | Yes | Yes (Home must be at least 30% more efficient than typical new construction based on national standards and requirements)
What's Included in the Calculations? | Irrigation system and rainwater collection design parameter information entered in scoring tool spreadsheet; points awarded for practices as defined in the standard | Uses: areas of hardscapes/pervious areas, monthly potential ETO & historic rainfall, types of plantings | Determines water demand based on one of two calculations, based on lot size and if there is an outdoor irrigation system | Uses: areas of hardscapes/pervious areas, monthly potential ETO & historic rainfall, types of plantings | Any applicable WACM developed by EPA approved Home Certification Organization (HCO) can be used
Landscape Design | No | Yes (Evapotranspiration factor based on plant type) | Yes (Based on lot size only ‐ less than or greater than 7000 sq. ft.) | Yes [Water demand of plantings, plant grouping (hydrozones) considered] | Depends on the WACM selected
Irrigation System | Yes | Yes (Efficiency factors based on system type) | Yes | Yes (Potential water use based on type(s) of irrigation, irrigation zones, water demand) | Depends on the WACM selected
Other Outdoor Considerations | No | Swimming Pools, Fountains and Spas | Swimming Pools | Swimming Pools, Fountains and Spas | Depends on the WACM selected
WATER CAPTURE AND REUSE
Rainwater Capture (precipitation that falls on a structure) | Yes | Yes | No* *(Can be considered on a case‐by‐case basis) | Yes | Depends on the WACM selected
Graywater Capture (wastewater from bath, shower, lavatories or clothes washers) | Yes | Yes | No* *(Can be considered on a case‐by‐case basis) | Yes (for indoor or outdoor use) | Depends on the WACM selected
Blackwater Capture (wastewater from toilets) | 2020-Yes; 2025-No | 2020: Yes; 2025-No | No | Yes | Depends on the WACM selected
Other | Reclaimed Water: Engineered Biological or Bioremediation System | Sitewater Capture (Precipitation falling on the ground, softscapes or hardscapes) | No | Sitewater Capture (Precipitation falling on the ground, softscapes or hardscapes; also direct capture) | Depends on the WACM selected
Water Reuse | Yes (Points based on system size/ % demand met) | Yes (Per local requirements. No indoor blackwater reuse (2020) | No* *(Can be considered on a case‐by‐case basis) | Yes (Calculates storage needed, tank size, demand % met) | Depends on the WACM selected
Author: NAHB 2026 [Please view in PDF and use the 'zoom' feature]