## 2002 to 2006
National Fire Incident Reporting System: 2002 to 2006 Data for One and Two Family Homes
Structural Fires Where Equipment Involved was Electrical Branch Circuit or Outlet Receptacle
STATE | Average Number of Fires per Year | Square Footage Affected per Year | Civilian Deaths per Year | Civilian Injuries per Year | Total Damage per Year (in $2006) | Average number of SF Permits | Average Number of AFCI Installed (2005 NEC) | Total Cost per year for Installation (2005 NEC) | Average Number of AFCI Installed (2008 NEC) | Total Cost per year for Installation (2008 NEC)
AK | 0.96 | 2936.77 | 0 | 0 | 176581.04 | 1695.6 | 5086.8 | 178038 | 20347.2 | 712152
AL | 3.333 | 3972.4 | 0.22727 | 1.2399 | 49334.98 | 20798.8 | 62396.4 | 2183874 | 249585.6 | 8735496
AR | 6.692 | 11862.84 | 0 | 0 | 149462.63 | 10520.4 | 31561.2 | 1104642 | 126244.8 | 4418568
AZ | 1.401 | 2462.99 | 0 | 0.6383 | 3857.85 | 67771.6 | 203314.8 | 7116018 | 813259.2 | 28464072
CA | 11.915 | 10888.3 | 0.6383 | 1.2766 | 428908.98 | 135373.6 | 406120.8 | 14214228 | 1624483.2 | 56856912
CO | 2.83 | 2926.34 | 0 | 0 | 134976.58 | 36017.6 | 108052.8 | 3781848 | 432211.2 | 15127392
CT | 4.855 | 12982.97 | 0 | 0.2128 | 161396.38 | 8370.2 | 25110.6 | 878871 | 100442.4 | 3515484
DC | 0.682 | 0 | 0 | 0 | 5578.71 | 202.4 | 607.2 | 21252 | 2428.8 | 85008
DE | 0.52 | 405.73 | 0 | 0 | 8788.62 | 6412.2 | 19236.6 | 673281 | 76946.4 | 2693124
FL | 9.818 | 12110.5 | 0 | 0.2128 | 348577.02 | 165686.4 | 497059.2 | 17397072 | 1988236.8 | 69588288
GA | 7.124 | 14753.32 | 0 | 0.6673 | 183674.59 | 84903.2 | 254709.6 | 8914836 | 1018838.4 | 35659344
HI | 2.277 | 1194.06 | 0 | 0 | 43334.62 | 5723.2 | 17169.6 | 600936 | 68678.4 | 2403744
IA | 5.525 | 11259.78 | 0 | 0 | 125232.94 | 11456.2 | 34368.6 | 1202901 | 137474.4 | 4811604
ID | 4.058 | 5732.43 | 0 | 0 | 138492.37 | 14536 | 43608 | 1526280 | 174432 | 6105120
IL | 11.949 | 30771.16 | 0 | 0.3077 | 205253.71 | 43947.8 | 131843.4 | 4614519 | 527373.6 | 18458076
IN | 9.373 | 11470.88 | 0.22727 | 0.2128 | 425596.54 | 30282.2 | 90846.6 | 3179631 | 363386.4 | 12718524
KS | 6.103 | 10463.65 | 0 | 0 | 83210.77 | 11225.2 | 33675.6 | 1178646 | 134702.4 | 4714584
KY | 5.551 | 11803.07 | 0 | 0.2273 | 128796 | 16729.8 | 50189.4 | 1756629 | 200757.6 | 7026516
LA | 5.841 | 6682.34 | 0 | 0 | 111538.16 | 19679.8 | 59039.4 | 2066379 | 236157.6 | 8265516
MA | 23.029 | 50375.12 | 0 | 0.2532 | 729946.99 | 13403.2 | 40209.6 | 1407336 | 160838.4 | 5629344
MD | 2.436 | 2855.79 | 0 | 0 | 72766.93 | 21944.4 | 65833.2 | 2304162 | 263332.8 | 9216648
ME | 0.895 | 1725.18 | 0 | 0.2273 | 80815.24 | 7215 | 21645 | 757575 | 86580 | 3030300
MI | 20.727 | 40602.48 | 0 | 0.4255 | 771304.64 | 39184 | 117552 | 4114320 | 470208 | 16457280
MN | 3.149 | 4748.41 | 0 | 0 | 48945 | 28881.8 | 86645.4 | 3032589 | 346581.6 | 12130356
MO | 6.511 | 7166.23 | 0 | 0.4255 | 69087.35 | 23124.2 | 69372.6 | 2428041 | 277490.4 | 9712164
MS | 5.088 | 8124.29 | 0 | 0 | 125683.46 | 11202.4 | 33607.2 | 1176252 | 134428.8 | 4705008
MT | 1.988 | 2209.42 | 0 | 0 | 24945.24 | 2935.8 | 8807.4 | 308259 | 35229.6 | 1233036
NC | 5.813 | 12406.46 | 0 | 0 | 233866.21 | 75615.4 | 226846.2 | 7939617 | 907384.8 | 31758468
ND | 0.308 | 0 | 0 | 0 | 0 | 2264.4 | 6793.2 | 237762 | 27172.8 | 951048
NE | 2.177 | 1898.85 | 0 | 0 | 124779.67 | 8036.8 | 24110.4 | 843864 | 96441.6 | 3375456
NH | 1.041 | 3116.46 | 0 | 0 | 0 | 6319.4 | 18958.2 | 663537 | 75832.8 | 2654148
NJ | 5.399 | 18624.66 | 0 | 0.44 | 76600.9 | 21269.6 | 63808.8 | 2233308 | 255235.2 | 8933232
NM | 0.213 | 0.21 | 0 | 0 | 0 | 11922.2 | 35766.6 | 1251831 | 143066.4 | 5007324
NV | 0.466 | 481.49 | 0 | 0 | 439.26 | 32781.2 | 98343.6 | 3442026 | 393374.4 | 13768104
NY | 16.086 | 35499.91 | 0.22727 | 0.6383 | 343644.03 | 23808.4 | 71425.2 | 2499882 | 285700.8 | 9999528
OH | 56.65 | 110938.09 | 0 | 1.4119 | 914696.13 | 38170.2 | 114510.6 | 4007871 | 458042.4 | 16031484
OK | 3.868 | 4790.24 | 0 | 0 | 202579.98 | 13567 | 40701 | 1424535 | 162804 | 5698140
OR | 15.022 | 39538.46 | 0 | 0.3077 | 445659.6 | 19943 | 59829 | 2094015 | 239316 | 8376060
PA | 0.667 | 732.3 | 0 | 0 | 2765.96 | 37827 | 113481 | 3971835 | 453924 | 15887340
RI | 0 | 0 | 0 | 0 | 0 | 1928.4 | 5785.2 | 202482 | 23140.8 | 809928
SC | 5.065 | 9146.83 | 0.93186 | 0 | 116263.22 | 36251.8 | 108755.4 | 3806439 | 435021.6 | 15225756
SD | 1.544 | 1675.54 | 0 | 0 | 46038.4 | 4253 | 12759 | 446565 | 51036 | 1786260
TN | 15.137 | 21629.79 | 1.5184 | 0.6383 | 453310.87 | 35702.4 | 107107.2 | 3748752 | 428428.8 | 14995008
TX | 45.522 | 72839.54 | 0 | 1.5733 | 859866.17 | 146960.8 | 440882.4 | 15430884 | 1763529.6 | 61723536
UT | 2.2 | 5272.61 | 0 | 0 | 9756.53 | 20199.6 | 60598.8 | 2120958 | 242395.2 | 8483832
VA | 7.65 | 16852.93 | 0 | 0.2273 | 95093.75 | 45980 | 137940 | 4827900 | 551760 | 19311600
VT | 0.253 | NA | 0 | 0 | 124821.13 | 2399.6 | 7198.8 | 251958 | 28795.2 | 1007832
WA | 8.003 | 11912.8 | 0 | 0.9091 | 224189.02 | 35367.4 | 106102.2 | 3713577 | 424408.8 | 14854308
WI | 2.479 | 3183.36 | 0.30769 | 0.9231 | 33853.31 | 26023.4 | 78070.2 | 2732457 | 312280.8 | 10929828
WV | 3.089 | 5853.53 | 0 | 0.2128 | 105998.82 | 4986.2 | 14958.6 | 523551 | 59834.4 | 2094204
WY | 0.814 | 1090.75 | 0 | 0 | 11178.43 | 2631.4 | 7894.2 | 276297 | 31576.8 | 1105188
US | 364.094 | 660983.91 | 4.078 | 13.6086 | 9261488.75 | 1493431.6 | 4480294.8 | 156810318 | 17921179.2 | 627241272
Total square footage is based on size of the main floor multiplied by the number of floors above ground. Dwellings with total square footage greater than 10,000 square feet are excluded from the calculations, under the assumption that they represent unrealistic outliers. Total damage includes damage to both property and contents, but excludes outliers where property damage is more than $10 million.“
Numbers each year are inflated to account for the self-reported share of fires missed by the NFIRS, ranging from a high of 35% in 2002 to a low of 6% in 2005 and 2006.
Source: NAHB tabulation of data from the U.S. Fire Administration, National Fire Data Center.
Damage numbers are adjusted for inflation using the annual Consumer Price Index for all items (U.S. Bureau of Labor Statistics)
Average number of AFCI breakers installed are based upon NAHBRC survey data reporting the average size of homes built in this time period was 2,244sf and the calculations found in the National Electrical Code for the minimum number of circuits required.
Source: A cost of $35 per AFCI device was derived from NFPA fact Sheet on AFCI available at
http://www.nfpa.org/itemDetail.asp?categoryID=285&itemID=19048&URL=Safety%20Information/For%20consumers/Electrical%20safety/Electrical%20circuit-interrupters

## table
NFIRS Data -- Structural Fires in One and Two Family Homes
Equipment Involved: Electrical Branch Circuit or Outlet, Receptacle
Obs | STATE | grossup | Square_Footage | Civilian_Deaths | Civilian_Injuries | Total_Damage | Death_Rate | Injury_Rate
1 | AK | 0.96 | 2936.77 | 0 | 0 | 176581.04 | 0 | 0
2 | AL | 3.333 | 3972.4 | 0.22727 | 1.2399 | 49334.98 | 71.429 | 357.143
3 | AR | 6.692 | 11862.84 | 0 | 0 | 149462.63 | 0 | 0
4 | AZ | 1.401 | 2462.99 | 0 | 0.6383 | 3857.85 | 0 | 500
5 | CA | 11.915 | 10888.3 | 0.6383 | 1.2766 | 428908.98 | 53.571 | 107.143
6 | CO | 2.83 | 2926.34 | 0 | 0 | 134976.58 | 0 | 0
7 | CT | 4.855 | 12982.97 | 0 | 0.2128 | 161396.38 | 0 | 52.632
8 | DC | 0.682 | 0 | 0 | 0 | 5578.71 | 0 | 0
9 | DE | 0.52 | 405.73 | 0 | 0 | 8788.62 | 0 | 0
10 | FL | 9.818 | 12110.5 | 0 | 0.2128 | 348577.02 | 0 | 23.256
11 | GA | 7.124 | 14753.32 | 0 | 0.6673 | 183674.59 | 0 | 103.448
12 | HI | 2.277 | 1194.06 | 0 | 0 | 43334.62 | 0 | 0
13 | IA | 5.525 | 11259.78 | 0 | 0 | 125232.94 | 0 | 0
14 | ID | 4.058 | 5732.43 | 0 | 0 | 138492.37 | 0 | 0
15 | IL | 11.949 | 30771.16 | 0 | 0.3077 | 205253.71 | 0 | 20
16 | IN | 9.373 | 11470.88 | 0.22727 | 0.2128 | 425596.54 | 25.641 | 25.641
17 | KS | 6.103 | 10463.65 | 0 | 0 | 83210.77 | 0 | 0
18 | KY | 5.551 | 11803.07 | 0 | 0.2273 | 128796 | 0 | 41.667
19 | LA | 5.841 | 6682.34 | 0 | 0 | 111538.16 | 0 | 0
20 | MA | 23.029 | 50375.12 | 0 | 0.2532 | 729946.99 | 0 | 10.417
21 | MD | 2.436 | 2855.79 | 0 | 0 | 72766.93 | 0 | 0
22 | ME | 0.895 | 1725.18 | 0 | 0.2273 | 80815.24 | 0 | 250
23 | MI | 20.727 | 40602.48 | 0 | 0.4255 | 771304.64 | 0 | 23.529
24 | MN | 3.149 | 4748.41 | 0 | 0 | 48945 | 0 | 0
25 | MO | 6.511 | 7166.23 | 0 | 0.4255 | 69087.35 | 0 | 74.074
26 | MS | 5.088 | 8124.29 | 0 | 0 | 125683.46 | 0 | 0
27 | MT | 1.988 | 2209.42 | 0 | 0 | 24945.24 | 0 | 0
28 | NC | 5.813 | 12406.46 | 0 | 0 | 233866.21 | 0 | 0
29 | ND | 0.308 | 0 | 0 | 0 | 0 | 0 | 0
30 | NE | 2.177 | 1898.85 | 0 | 0 | 124779.67 | 0 | 0
31 | NH | 1.041 | 3116.46 | 0 | 0 | 0 | 0 | 0
32 | NJ | 5.399 | 18624.66 | 0 | 0.44 | 76600.9 | 0 | 83.333
33 | NM | 0.213 | 0.21 | 0 | 0 | 0 | 0 | 0
34 | NV | 0.466 | 481.49 | 0 | 0 | 439.26 | 0 | 0
35 | NY | 16.086 | 35499.91 | 0.22727 | 0.6383 | 343644.03 | 14.286 | 42.857
36 | OH | 56.65 | 110938.09 | 0 | 1.4119 | 914696.13 | 0 | 23.256
37 | OK | 3.868 | 4790.24 | 0 | 0 | 202579.98 | 0 | 0
38 | OR | 15.022 | 39538.46 | 0 | 0.3077 | 445659.6 | 0 | 20.408
39 | PA | 0.667 | 732.3 | 0 | 0 | 2765.96 | 0 | 0
40 | SC | 5.065 | 9146.83 | 0.93186 | 0 | 116263.22 | 181.818 | 0
41 | SD | 1.544 | 1675.54 | 0 | 0 | 46038.4 | 0 | 0
42 | TN | 15.137 | 21629.79 | 1.5184 | 0.6383 | 453310.87 | 102.941 | 44.118
43 | TX | 45.522 | 72839.54 | 0 | 1.5733 | 859866.17 | 0 | 37.037
44 | US | 364.094 | 660983.91 | 4.078 | 13.6086 | 9261488.75 | 11.673 | 38.262
45 | UT | 2.2 | 5272.61 | 0 | 0 | 9756.53 | 0 | 0
46 | VA | 7.65 | 16852.93 | 0 | 0.2273 | 95093.75 | 0 | 30.303
47 | VT | 0.253 | 1012.66 | 0 | 0 | 124821.13 | 0 | 0
48 | WA | 8.003 | 11912.8 | 0 | 0.9091 | 224189.02 | 0 | 111.111
49 | WI | 2.479 | 3183.36 | 0.30769 | 0.9231 | 33853.31 | 90.909 | 272.727
50 | WV | 3.089 | 5853.53 | 0 | 0.2128 | 105998.82 | 0 | 71.429
51 | WY | 0.814 | 1090.75 | 0 | 0 | 11178.43 | 0 | 0

## permits
Mnemonic: | Description: | Source: | Geography: | 2002 | 2003 | 2004 | 2005 | 2006 | Average Annual Permits
XHPRN1A.AK | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Alaska | 1702 | 1740 | 1771 | 1653 | 1612 | 1695.6
XHPRN1A.AL | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Alabama | 15145 | 17671 | 22392 | 24654 | 24132 | 20798.8
XHPRN1A.AR | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Arkansas | 8007 | 10072 | 10563 | 13191 | 10769 | 10520.4
XHPRN1A.AZ | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Arizona | 55798 | 65845 | 80778 | 80804 | 55633 | 67771.6
XHPRN1A.CA | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | California | 123013 | 139870 | 151568 | 154703 | 107714 | 135373.6
XHPRN1A.CO | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Colorado | 34993 | 33837 | 40753 | 40140 | 30365 | 36017.6
XHPRN1A.CT | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Connecticut | 8484 | 8180 | 9263 | 8817 | 7107 | 8370.2
XHPRN1A.DC | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | District Of Columbia | 383 | 152 | 226 | 125 | 126 | 202.4
XHPRN1A.DE | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Delaware | 6051 | 6748 | 7532 | 6715 | 5015 | 6412.2
XHPRN1A.FL | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Florida | 128719 | 156852 | 187463 | 209162 | 146236 | 165686.4
XHPRN1A.GA | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Georgia | 75529 | 80683 | 87731 | 94467 | 86106 | 84903.2
XHPRN1A.HI | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Hawaii | 4562 | 6213 | 5603 | 6641 | 5597 | 5723.2
XHPRN1A.IA | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Iowa | 10004 | 11841 | 12374 | 12812 | 10250 | 11456.2
XHPRN1A.ID | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Idaho | 10845 | 12601 | 15273 | 19172 | 14789 | 14536
XHPRN1A.IL | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Illinois | 42545 | 45379 | 46207 | 47705 | 37903 | 43947.8
XHPRN1A.IN | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Indiana | 30794 | 31891 | 32172 | 32116 | 24438 | 30282.2
XHPRN1A.KS | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Kansas | 10325 | 11494 | 11548 | 11626 | 11133 | 11225.2
XHPRN1A.KY | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Kentucky | 16316 | 17428 | 18480 | 17929 | 13496 | 16729.8
XHPRN1A.LA | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Louisiana | 15225 | 18478 | 20684 | 20206 | 23806 | 19679.8
XHPRN1A.MA | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Massachusetts | 13636 | 13037 | 14842 | 14585 | 10916 | 13403.2
XHPRN1A.MD | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Maryland | 24004 | 23398 | 21553 | 22909 | 17858 | 21944.4
XHPRN1A.ME | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Maine | 6421 | 7308 | 8053 | 7810 | 6483 | 7215
XHPRN1A.MI | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Michigan | 41656 | 44726 | 45881 | 38875 | 24782 | 39184
XHPRN1A.MN | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Minnesota | 28631 | 32731 | 32580 | 29566 | 20901 | 28881.8
XHPRN1A.MO | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Missouri | 20747 | 22730 | 26269 | 25949 | 19926 | 23124.2
XHPRN1A.MS | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Mississippi | 8881 | 10138 | 11199 | 11656 | 14138 | 11202.4
XHPRN1A.MT | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Montana | 2050 | 2340 | 3425 | 3459 | 3405 | 2935.8
XHPRN1A.NC | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | North Carolina | 66400 | 66883 | 77147 | 84975 | 82672 | 75615.4
XHPRN1A.ND | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | North Dakota | 1793 | 2344 | 2521 | 2367 | 2297 | 2264.4
XHPRN1A.NE | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Nebraska | 7239 | 8652 | 9052 | 8687 | 6554 | 8036.8
XHPRN1A.NH | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | New Hampshire | 6754 | 6583 | 7002 | 6432 | 4826 | 6319.4
XHPRN1A.NJ | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | New Jersey | 22379 | 22163 | 22429 | 22264 | 17113 | 21269.6
XHPRN1A.NM | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | New Mexico | 10361 | 11865 | 11674 | 13417 | 12294 | 11922.2
XHPRN1A.NV | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Nevada | 27634 | 33090 | 38914 | 37546 | 26722 | 32781.2
XHPRN1A.NY | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | New York | 25570 | 24196 | 24084 | 25211 | 19981 | 23808.4
XHPRN1A.OH | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Ohio | 39785 | 42703 | 42543 | 38306 | 27514 | 38170.2
XHPRN1A.OK | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Oklahoma | 11248 | 12729 | 14101 | 15669 | 14088 | 13567
XHPRN1A.OR | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Oregon | 17413 | 17875 | 20728 | 23840 | 19859 | 19943
XHPRN1A.PA | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Pennsylvania | 38683 | 38567 | 41496 | 37268 | 33121 | 37827
XHPRN1A.PR | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Puerto Rico | 14293 | 13507 | 13217 | 12269 | 10691 | 12795.4
XHPRN1A.RI | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Rhode Island | 2182 | 1948 | 1903 | 1808 | 1801 | 1928.4
XHPRN1A.SC | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | South Carolina | 28609 | 31553 | 36081 | 43341 | 41675 | 36251.8
XHPRN1A.SD | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | South Dakota | 3840 | 4060 | 4659 | 4693 | 4013 | 4253
XHPRN1A.TN | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Tennessee | 29097 | 32219 | 37826 | 40174 | 39196 | 35702.4
XHPRN1A.TX | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Texas | 122623 | 134197 | 149056 | 166178 | 162750 | 146960.8
XHPRN1A.UT | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Utah | 15731 | 18417 | 20236 | 24019 | 22595 | 20199.6
XHPRN1A.VA | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Virginia | 45711 | 46263 | 48990 | 49959 | 38977 | 45980
XHPRN1A.VT | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Vermont | 2451 | 2430 | 2686 | 2360 | 2071 | 2399.6
XHPRN1A.WA | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Washington | 30239 | 33091 | 36489 | 41407 | 35611 | 35367.4
XHPRN1A.WI | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Wisconsin | 26084 | 28744 | 29716 | 25966 | 19607 | 26023.4
XHPRN1A.WV | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | West Virginia | 4506 | 4667 | 5115 | 5483 | 5160 | 4986.2
XHPRN1A.WY | Permits: Residential - Single-family, (# of units) | BOC: Form C-404 | Wyoming | 1822 | 2265 | 2814 | 3169 | 3087 | 2631.4
XHPRN1A.US | Permits: Residential - Single-family, (Units #) | U.S. Census Bureau: Building Permits - Form C-404 | United States | 1332620 | 1460887 | 1613445 | 1681986 | 1378220 | 1493431.6