Maintenance Menu Ideas

| Item | Price |
| --- | --- |
| Air-Conditioning Clean or replace filters. Have annual inspection done. If necessary, have it charged with coolant. |  |
| Bathrooms Check caulk; touch up or replace as needed. Check grout; touch up or replace as needed |  |
| Cabinets Tighten hinges. Adjust to level. |  |
| Decks Apply water repellent. Replace warped boards. |  |
| Disposals Unclog. |  |
| Doors Refinish exterior door. Adjust weather stripping and/or threshold. Adjust interior door. |  |
| Drains Unclog drain. Unclog toilet. |  |
| Driveways, Walks, Steps Seal minor cracks. |  |
| Dryer Clean dryer exhaust vent. |  |
| Electrical Reset tripped breaker. Replace bulbs in high fixtures. Test smoke detectors and outlets with ground fault circuit interrupters (GFCI). |  |

| Item | Price |
| --- | --- |
| Exterior Brick/Stucco Veneer Repair cracks. |  |
| Faucets Clean aerators. Replace washers/o-rings. |  |
| Fireplace Clean chimney. Inspect damper for correct operation. |  |
| Fire Extinguisher Do the annual inspection. |  |
| Floors Seal concrete floor. Polish marble. Clean, seal, and/or touch up grout. Stretch carpet. Re-coat hardwood flooring. |  |
| Foundation Fill cracks with epoxy. Correct settlement of backfill. |  |
| Glass Replace broken windows. |  |
| Gutters and Downspouts Clean and check. |  |
| Heating systems Have annual inspection done. Clean or replace filter. Clean humidifier. Relight pilot. |  |
| Holidays Install decorative lighting. |  |
| Landscaping Fill depressions. Replace dead or sick shrubs and/or trees. |  |
| Plumbing Check drain traps. |  |

### Continued

Continued

| Item | Price |
| --- | --- |
| Security Systems Replace batteries. |  |
| Septic System Order annual inspection. Have system cleaned. |  |
| Shower Clean shower heads. Re-grout as needed. Re-caulk as needed. |  |
| Smoke Detectors Test them. Replace batteries. |  |

| Item | Price |
| --- | --- |
| Termites Inspect foundation and basement, if any. Have exterminator treat any termites. |  |
| Trim and/or Moldings Re-caulk as needed. |  |
| Walls and/or Ceilings Repair minor cracks. Paint as needed for repairs. |  |
| Water Heaters Wrap with insulation. Drain sediment. Check temperature. Check pressure valve. |  |