Structural Inspection

| Home Owner |  | Date |  | Time |  |
| --- | --- | --- | --- | --- | --- |
| Address |  | Community |  |  |  |
| Home phone |  | Home site no. |  | Plan |  |
| Work phone |  | Plan |  |  |  |
| Cell phone |  | E-mail |  |  |  |

| Review House File  Previous report of concerns  Grade certification  Perimeter drain included in foundation plan Existing Grade and Landscaping  Changes to original grade  Slope at foundation  Landscape materials in backfill area  Edging  Downspout extension or splash blocks  Location of trees or large shrubs  Sprinkler system  Water service and meter  Drainage from neighboring lots  Home owner additions to exterior Foundation  Wall cracks (size, location, mark with 2” line & date)  Bowing  Sill plate/grout  Beam pockets  Floor cracks (location, width, displacement) |  Heaving (note furnace collar, flexlines, slip joints on drain lines, basement stairs)  Condition of floor in relation to support posts  Moisture or standing water, including crawl space  Home owner construction in basement Interior  Drywall  Doors  Floors out of level  Trim boards, cabinets, and so on  Masonry or tile work  Windows Exterior  Concrete flatwork  Patio covers  Masonry  Trim boards |  |
| --- | --- | --- |
|  | Photos taken? |  Yes  No |
|  | Reshoot grades? |  Yes  No |
|  | Engineer required? |  Yes  No |

### Continued

Continued

Notes

| Home Owner |  |
| --- | --- |
| Home Owner |  |
| Builder |  |